## Sheet1
Principle | Question | Customer 1 | Customer 2 | Customer 3 | Customer 4 | Customer 5 | Customer 6 | Customer 7 | Customer 8 | Customer 9 | Customer 10 | Customer 11 | Customer 12 | Customer 13 | Customer 14 | Customer 15 | Customer 16 | Customer 17 | Customer 18 | Customer 19 | Customer 20 | Customer 21
Principle 1 - Capacity should be allocated according to customers’ defined and verified requirements assessed against a set of qualifying criteria. | 1) Do you consider the criteria for the customer to validate the requirement for their requested capacity is appropriate? | Yes. Larger developments should be encouraged to apply in phases. In ---, phases tend to come forward for approx 10 dwelling units at a time. The phasing of development is often specified in a planning permission either via a planning condition or a Section 106 legal agreement. Phasing of development set out in a planning permission should be consistent with the phasing of applications to secure a connection. | We do not consider the criteria required to validate the requirement for customer’s requested capacity are appropriate. We take each bullet point from your consultation document (page 10) in order below and we have then also made some more general comments about this principle. For housing developments, we believe that, notwithstanding the statutory provisions, it is likely to be the distributor who provides the ADMD and therefore the detailed load requirements of the end user. In respect of WPD we do note that you provide ADMD values for domestic dwellings of various size and electrical requirements in your document ST:SD5A/3 – Design of Low Voltage Domestic Connections. There may be other details which a distributor reasonably required to validate the requested capacity for connections such as the number and type of houses. Such ADMD has traditionally been determined by having information on the type of space heating used. In the future, the changing energy landscape (e.g. the use of EV, PV panels, heat pumps, electric heating) will make it more complex to determine the ADMD. We note that the university of Strathclyde has undertaken some work in this area: http://www.esru.strath.ac.uk/EandE/Web_sites/13-14/WRISC/admd.html. If WPD has concerns that capacity requests for new housing are unreasonable, then we think this could be largely addressed by making such information available on a more transparent basis. We would welcome engagement of the future development of ADMD standards in order to ensure that maximum capacity requirements remain fit for purpose. Where there are commercial connections being made then we believe that there are existing mechanisms within the CCCM (Speculative Developments) which deal with instances where customers are unable to provide detailed load requirements. Whilst we agree a build out programme for a new development is useful in determining the phasing of the construction works, we recognise that at the time of making a request, the developer may not have reliable information available. Such programme will often be influenced by the completion of electricity connections, utility services, ground works and the provision of other infrastructure – as well as other external factors such as the economy. This is even more so the case for larger, long term developments. We do not believe that a letter of authority where the applicant is the landowner or developer has any relevance to the verification of capacity requirements. We understand that this may be a requisite part of the connection application process but do not see how it relates to capacity allocation. We would welcome any further clarification on this. Furthermore, where the application is made by another distributor (in accordance with Section 16 of the Act) then this criterion may never reasonably be met. On the last bullet point we do not believe that the Act permits WPD to discriminate between customers who have outline planning permission with those who don’t in providing connections. This includes, in our opinion, in allocating capacity to customers in the connection process. More broadly on this principle, we do not agree with WPD’s stated position that “…it is reasonable to apply different contractual terms of the connection offer according to the level of information provided”. So long as a person requesting a connection pursuant to the provisions of section 16 and 16A of the Electricity Act 1989 (the “Act”) provides the distributor with the information it reasonably requires to make a connection offer, the distributor should provide the connection offer on a non-discriminatory basis. We accept that under section 9 of the Act, WPD has a duty to “…manage and to develop and maintain an efficient, co-ordinated and economical system of electricity distribution”; and understand WPD’s concerns in respect of managing areas of their network that are capacity constrained and the desire to avoid unnecessary reinforcement. However, this needs to be balanced with the needs of customers seeking connection. We have significant reservations that WPD’s proposals do not offer a balanced or fair approach. Our concerns are based not only on WPD’s consultation, but on our recent experiences of WPD withdrawing capacity in connection offers in what we consider to be on unreasonable unilateral basis. Discussions to try and resolve such issues have been unhelpful. We believe such an approach could have the unintended consequence of distorting competition. The approach discriminates unduly between parties’ size and capacity requirements and this may cause distortions within the connections market. We would also welcome confirmation from WPD that any proposals would apply equally to connections provided by WPD as those connections provided by independent connection providers and IDNOs. You consultation does not make this point specifically clear. WPD appear to suggest that for longer-term developments it is only the initial phases that should be applied for. We do not believe that under the provisions of the Act the licensee can refuse to provide a connection offer where the build out of the development is longer than 3 years. Further, in order to develop an efficient and co-ordinated system we believe there is value in considering the project from the wider requirements. | Yes | Yes | Yes. Due to the frequent issue of competing applications for limited capacity a validation system is required to assist determination of applications. However, the criteria require some flexibilities as differing applicants have differing goals and nature of delivery of build proects. | Yes | Yes | Yes, but is WPD really going be the final arbiter of customers’ load requirements (via the ‘How much capacity do you really need?’ question) ? What if WPD gets it wrong? Who is liable for consequential losses? | I represent a Science Park with a phased development scheme (5 phases, each phase 4>10 buildings). Given the local authority, LEP, University and commercial stakeholders backing us, each of our phases has a very high chance of commencement and completion despite being relatively speculative. We have developed 12,000m2 of office/lab/workshop space since 2013. The precise requirements of each of our phases is very difficult to verify until mid-way through a phase development, which will typically take ten years, although we need to ensure capacity is available at the commencement of each phase. This is because of the huge variability in the requirement of an individual building depending on whether it is an office, a laboratory or even a data centre. Therefore, detailed verification would be extremely difficult for us and would represent a major limitation on our ability to develop. The infrastructure we are developing is, however, essential to the economic development of --- and therefore identified as strategically valuable to the County Council, City Council, LEP and UK Government. WPD should be able to take account of the difference between speculative development purely for developer profit and speculative development for local and regional economic development which has strong stakeholder backing. Infrastructure is by far the largest barrier to economic development... and WPD need to be part of the solution to that rather than raising the barriers yet higher. | At garden community sites where the housing numbers are large and build out is over a long period, what details will developers have from the outset? Developers will be provided with detailed calculations for a number of units/parcels but it is unlikely that the level of detail would be easily available at outline planning stage, especially on the detailed build out programme and load requirements. These will potentially still be estimations, especially on the larger sites. It is likely that these aspects will change as the applications progress through to reserved matters. There needs to be some certainty for the wider development around what investment, and associated cost there will be. Sites which don’t have outline planning permission but are allocated/to be allocated need to be planned for. | We consider that this should also include a site allocation in an up to date adopted Local Plan | In general terms, yes it appears to be appropriate for small and medium sized development. Where it may not be appropriate is in the delivery of large scale and strategic growth. In that situation it would be better to have a more proactive response to the needs of new customers. An example of this in...would be the growth... which includes the Sustainable Urban Extension (c 3,200 new dwellings, community and commercial facilities) and the development of the --- Science and Enterprise Park, which now has Enterprise Zone status). It is known that this will require substantial investment in the power infrastructure (including reinforcement...). It would be beneficial to consider such important strategic developments and the infrastructure that they will require in a more pro-active way. | • Not in its current form. • Development is economy driven so not entirely under the control of the developer. • DNO’s need to appreciate that large scale developments typically operate under development consent orders and that individual plots will be built depending on actual tenants requirements and which may differ from the initial plan and demand estimate. • I agree the customer or their agent should provide the best possible assessment of probable demand requirements profiled throughout the anticipated build period and be able to substantiate the rationale. | Yes the customer should be required to validate their requested capacity | The principle of allocating capacity on the basis of validated requirements is a good one and the criteria suggested in the consultation document look appropriate. | What is meant by “detailed load requirement”? – the equivalent of technical detail provided by generation in Part 2 of G59 gen app seems reasonable (fault level, reactive power etc) – as adapted (likely reactive draw vs active power is useful and appropriate to ask). What is meant by “detailed build out programme”? – very happy to agree in principle to high-level construction programme at point of application, and agreement to mutually update on construction programme with further detail as delivery approaches, but would like to see the level of detail WPD is expecting. Letter of authority from landowner – agreed. Can you please confirm – the 3rd bullet on p10 could be read such as authority is not required if the applicant is also the developer? For avoidance of doubt we understand such authority is always required (even if landowner applies!). Outline planning permission – only where such a process is applicable to the development. There are many instances where outline planning is not appropriate and will not be sought at all. For these projects an obligation to provide WPD with “outline planning” is an unreasonable barrier. Consider for example request for import at a power station – whether on a wind farm, a solar farm, or a stand-alone battery connection – these are unlikely to process with anything other than a full detailed application for planning consent (which would be submitted on or appropriately soon after the grid connection application, in accordance with national best practice on milestones). | Yes but it could be expanded – see (2) below | Many enquiries are made early on in the development process, when detailed layouts etc may not be available, yet service quotes are needed to assess viability etc. It seems unreasonable to expect customers to verify their requirements when WPD offer no guidance on loadings/usage. Perhaps if a typical loading/usage table were available for the various different usages, developers could use this as a base to calculate their loads. We have asked advice from WPD before on loadings to be told 'it is not for them calculate the load'. If they can't calculate the load or offer guidance, are they really best placed to assess the load applied for fairly? | The criteria identified to validate the capacity requested by the customer is for most development sites considered appropriate. There are, we consider circumstances whereby it would be appropriate for WPD to apply some flexibility to the criteria identified. For example: Where development involves large land allocations which may or may not include mixed development and results in significant reinforcement works to the network and new infrastructure such as substations. The developer / landowner should be able to secure the energy supply needed and reserve it in the most cost-effective way possible. Whilst the build out periods are likely to exceed the 10years suggested in the criteria, the land being allocated in a local plan should give WPD sufficient assurance that development will be delivered within appropriate time scales. | The ... has been a partner organisation in the recently completed.... Utilities Study... which has identified relevant issues that have been made in ... response to this consultation which the City Council has been party too and is supportive of. ... will be experiencing significant levels of growth over the next 25 years with approx. 38,000 new homes and approx. 12,000 new jobs which will require electricity connection. Yes, the overall premise of Principle 1 is supported in that it is reasonable to apply different terms according to the level of information provided. We would wish to highlight the need to speed up the time taken to identify the appropriate contacts when new development sites come forward. Early contact and engagement between planning, site promoters and utility providers and adequate guidance on estimates of load requirements is particularly important on employment sites which are difficult to predict in terms of energy requirements. Also the changing nature of residential demand e.g. electric car charging points, renewable generation need to be factored into these criteria. | Whilst ... would not necessarily disagree with the premise set out under Principle 1, there needs to be some context set, with regard to a recent investigation in to the capacity of utility infrastructure to support jobs & growth... Following on from the recently completed Utilities infrastructure study... there appears to be a stage before this that also needs to be considered. This was borne out through both stakeholder consultation, and also further investigative work within the study, which showed that: • The process of contacting providers, finding the appropriate team to deal with strategic inquiries and conducting high level assessments took in some cases up to several months, and involved a time consuming process • This is indicative of the issues facing planners and developers in trying to establish the utility needs and costs for new development sites, particularly employment sites Connections Policy – The ‘second comer’/rebate system is challenging given the way the market works and contractors/developers can’t factor this in to their decisions as too risky. There are also limitations of the ‘minimum cost option’ approach which favours short term decisions and can be seen to prevent larger scale or longer-term development. A key finding of the report is that planning the utilities requirements in the case of future employment sites is particularly challenging. This is because the demand loadings can vary significantly by employment use. For example, a data centre is likely to have a very high energy requirement whereas a warehouse will have minimal requirements. Both uses could occur in a designated industrial/warehousing site. However, in terms of investing in pre-emptive network reinforcement it is very difficult for the planning authority or site promoter to understand what the energy requirements should be until an occupier enquiry is received. The best solution is for the utilities firm to inform the planning authority and site promotor at an early stage of potential capacity issues based on a range of demand loading scenarios. This information can then be used to direct market enquiries to the appropriate sites/areas and this will help to avoid the surprise of finding out that certain sites cannot accommodate high energy demand uses without significant network reinforcements. In answer as to whether more information is appropriate, needs to be taken in conjunction with the information above. It may help with the loading of the utility infrastructure to start to ensure fair & equitable access, however there will be an economic component that will need to be answered before this takes place, to show that this pursuit will not completely stifle economic investment and activity, to areas who are disadvantaged with low land values.
| 2) Are there any other criteria or is there any other evidence WPD should consider when assessing the validity of a customer’s requested capacity? | Amended criteria: In addition to Outline Planning permission, give weight if it is an Allocated site within the Local Development Plan (LDP) (--- Local Development Plan). The adopted --- LDP 2007 -2022 has allocations for Housing, Employment, Transport, Minerals and Mixed-use sites, some of which include elements of education or retail development. A Review of the --- LDP 2007-2022 has triggered work to progress a full replacement Plan. This process involves updating the evidence base used to inform the preparation of the LDP and will include: • the preparation for the first time of a Renewable Energy Assessment (REA) which will identify a countywide target for installed megawatt capacity to be met from renewable energy resources in the future and could result in the identification of allocated sites for a variety of renewable energy technologies such as Wind power or Solar PV . • A call for candidate sites r to be considered for allocation / development, with increased focus on demonstrating deliverability during the plan period. WPD will be consulted and involved at key stages during preparation of the replacement plan, with information sought on the network’s capacity to serve potential allocations and on availability of connection to the grid for candidate sites to inform site selection / allocation. Criteria should be amended to reflect the following: Is the requirement for connection arising from a planned development? i.e. Is the site/development identified/allocated within an adopted development plan? Applicant to provide details. And what are the anticipated timescales for delivery? Plan period and any phasing or trajectory requirements/restrictions e.g. Whilst a plan period usually lasts for 15 years, some development cannot come forward until upgrades to infrastructure such as WWTWs have been undertaken in accordance with DCWW Asset Management Plan (AMP), therefore delivery timescales are often specified in the development plan accordingly e.g. If the plan period is 2007-2022, improvement may not be scheduled until 2016 so the allocation may not be expected to come forward until the last 5 years of the plan period 2017-2022. Additional information regarding the likely deliverability of housing sites can be obtained from the LDP Annual Monitoring Report (AMR) and the Joint Housing Land Availability Study (JHLAS). Every local planning authority in Wales is required publish a JHLAS annually which indicates the number of dwellings likely to be delivered within the forthcoming 5 year period. The --- study shows that there are some sites which even though they have planning permission or are extant, they are unlikely to come forward due to unforeseen constraints or lack of viability/market demand. The study only looks at sites of 5 or more dwelling units, however, regard should be had to it when considering the likely deliverability of housing sites. --- would welcome the involvement of WPD in the Study Group for the JHLAS, which generally operates by email correspondence. | Going forward we think there is value in providing guidance on the information that will be required to assist licensees to assess the ADMD for new developments – particularly with the changing energy landscape. | During the FITs era, installers were under pressure to commission their installations before each FIT degradation date. This pressure will have abated allowing a more measured approach. | Response from Planning Department: In association with planning-related criteria, relevant details of any s106 legal agreements tied to planning consents. | Criteria formulated should include an assessment of: • The degree of certainty of project ‘go ahead’ • The proposed timing for commencement, gradual and full take-up of maximum applied for capacity • Realism of the maximum capacity applied for | No | I feel the customer should also be asked to confirm the energy reduction methods they have installed within the building as part to the design development. This should then be reviewed once the installation is completed to ensure that the demand has not increased via value engineering exercise that places the supply under grater pressure. | WPD has the criteria spot on. As above, we don’t think going further and questioning how much capacity a customer might ‘really’ need is feasible. | (a) WPD should consider the likelihood of the request based on (i) previous development schemes of the applicant (ii) access to development funds (iii) status of planning permission. (b) WPD should consider the strategic priority of the scheme as prioritised by the Local Authorities, LEP, UK government agencies and other key stakeholders. |  | The history on non-implementation of permissions should be taken into consideration as further understanding of the situation may need to be considered (eg if viability has been marginal but there is now increased certainty due to funding being available, or if, conversely, land banking has previously been a problem meaning the site hasn’t come forward). If the situation is borderline, the most recent SHLAA / ELAA may provide helpful context. | The strategic importance of delivering large housing sites (such as Sustainable Urban Extensions) and commercial inward investment should be taken into consideration when considering the prioritisation of infrastructure delivery. | • The customer should be prepared to provide a detailed assessment of their load take-up/profile and be able to fully substantiate the rationale adopted. | Even if requirements can be validated, an assessment should be made of a customers ability to pay for these longer term requirements |  |  | Any customer who has outline planning permission should at that stage be able to provide a timescale for when they are going to submit reserved matters – if they cannot then it most likely means the site is speculative or up for sale. The Council has numerous sites with outline permission where we cannot find out when reserved matters applications are going to come in – customers should if they are really going to develop a site be able to provide a clear timetable up to the point of start on site. We would like to see this in encapsulated in your principle. | Developers may have retained land which they would look to secure capacity for to future proof initial schemes. This must be factored in to avoid abortive works where undersized mains then have to be re-laid with larger mains. | Very large development sites that are allocated by Planning Authority’s in Local Plans for future expansion should be considered within the criteria and recognised that in certain circumstances these sites may fall outside of the other criteria identified and special consideration be given. i.e. length of time to build out could exceed 10years and not all the site will have full planning consent at the time of capacity is requested. An example ... site covers 500 acres and includes for 3,700 new homes and 1.1m sq. ft. of employment space. Development will take some 25-30 years. | Consideration should always be given to the levels of planned growth of an area and associated infrastructure requirements as set out the Local Plan and Infrastructure Delivery Plan and other local evidence. A degree of flexibility is and a process of ongoing review is still required from all sides. | Developers and landowners have an interest in developing sites if they can make a reasonable profit. To achieve this, they typically need to understand the full costs and practical implications of construction before making the decision to initiate development. Because utilities are such a critical component of development it is very important that developers fully understand the costs and timing implications of providing utilities at their site. Another factor to discourage anticipatory investment is that it is often difficult to accurately predict when and at what level development will occur. Historic rates of development often demonstrate that planned development did not occur in the way it was originally predicted. The amount of planning permissions won on appeal, add to the lack of certainty and effectiveness in forward planning. The stakeholder engagement process within the Utility Study also highlighted some important issues, and provided useful ‘bottom up’ intelligence, namely: • Complexity of regulatory and planning system – The planning and utilities investment processes are complex and there are few people who have an overall understanding of what is required to meet the local planning conditions and also to navigate the utilities processes for connections, costs and sites. There is a gap between the regulation system, designed to ensure efficiency in the utilities market, and economic development objectives. Short of regulatory reform, an active approach from providers and local authorities is required to meet this gap. Engagement is the key solution to this complexity and supporting stakeholders in accessing information and overcoming issues around early engagement of utilities with planning authorities, reliability of cost and timescales estimates given to developers for reinforcement works. • Cost and transparency – The need for transparency over costs connected to new developments underpins many of the concerns over costs. There is little advice or guidance on how costs can be reduced, how flexibility can be sought, and how to encourage development at present. Adding extra complexity to the process will only exacerbate the situation, unless remedial action is taken.
Principle 2 - Capacity should be allocated on a strict date order of confirmed requirements and in line with WPD interactivity procedures | 3) Do you consider it is correct that a customer should only secure a place in any interactive connections queue where they have defined and verified requirements and an immediate need for the connection? | Yes | No. Provided the customer has provided the information required to make a connection offer then the customer should not be unduly discriminated against. We have set out our thoughts on WPD’s proposed criteria for verifying capacity of connections in our responses above and our thoughts on this extend to the requirement for a customer to have a “verified” requirement to enter the connections queue. We believe that it is unreasonable for customers to have their connection capacity requirements verified by a distributor before they are offered terms for the provision of a connection. Whilst the CCCM already makes provision for developments that are considered speculative, we believe further work is required to better provide clarity on the interpretation of what can legitimately considered as “speculative”. We increasingly see arbitrary interpretations across all DNOs of what is deemed to be speculative. | There were occasions where the unscrupulous were selling their place in the queue. | Yes | Yes – in principle. However, there is need for understanding of the validity, and often requirement, for a reasonable/realistic estimate, as absolute requirements may not be fully known at the commencement of the application | For larger developments built out over more than 10 years, the Customer needs certainty in securing capacity for their immediate phases of development. Thereafter WPD could provide an interim statement of capacity for the latter phases which could be updated/issued every 12-18 months to inform both parties of any change in capacity to serve the remaining development and aid forward planning. | Yes, but as with any large scale project slippage may be an issue for a variety of reasons and an allowance for time should be included within any cut off dates. | The word ‘immediate’ causes some concern, given that immediate for one customer might be ‘next week’ and for another ‘two years’. Would we really leap frog a later applicant with a ‘next week’ need over one that had applied perhaps many months earlier but whose need was 2 years hence? What if the connection works had a 2 year lead in? Would the immediate need leapfrog a 2 year requirement? We would end the statement at the word ‘requirements’. | As noted above, I don’t believe different schemes are necessarily comparable simply on the basis of being able to fully define and fully validate their requirement – it is easy to define a likely housing development requirement, much harder for a Science Park. Nevertheless, if there is a satisfactory process for establishing a ‘validated’ application then it seems fairest to allocate in date order. However, there are three concerns; 1. If applications are allocated but not being moved forward, will they become a blockage? Should an application’s place in the queue be time limited? (3 years? 5 years?); 2. Where local strategic priority, as governed by Local Authority/LEP, is pressing, should there be a mechanism for prioritising schemes? 3. Should spade ready schemes be blocked by well-defined but long-lead time developments that just got their application in earlier? Could this lead to larger scheme developers ‘capacity banking’ as they already ‘land bank’? | WP’s idea of planning for immediate requirements doesn’t fit with the plan-led system. When planning for North Northants we need to know where capacity issues exist and what is necessary to address this. | Yes, but see also answer to question 2. ‘Immediate need’ needs to be defined: we consider this should be at the point of validation. | Again, in general terms and in relation to small/medium development that is appropriate. However, where there is large scale strategic development it would be beneficial to plan the implementation and delivery more strategically. This would be useful for economic development and inward investment purposed where the commitment of the required infrastructure could be a determining factor in the location or re-location of firms. That is to say, if there is a clear route to the provision of power in line with inward investment opportunities. There is the potential here for a ‘win-win’ as WP become an integral partner, wins new business and is active in inward investment in the Borough. | • Yes, but accepting that there is a marked difference between load requirements and physical connection. There may be an urgent need for an early connection but with a build-up to full capacity over an agreed period, which may be several years in some cases. | Yes this is correct | Yes, particularly because an interactive connections queue implies inter-dependency between capacity allocations. How flexible is this process with regard to accommodating unforeseen/unavoidable change if there are dependencies between the requested connections? | “Defined and Verified requirements” – “Immediate need” – no. Instead applicant should demonstrate a justifiable and credible plan for a need (for a connection). Developments are not all ‘speculative’ just because they are in the future, and WPD should not be judging speculative nature based on time alone- many developments just take time. | Yes, some developments take many years to build out and these are therefore taking up capacity that could be used by others developing – given the pressure on housing requirements and the need for economic growth, capacity should not be taken up by those who do not have clear plans in place and cannot deliver growth within a reasonable timescale. | No. A developer may be looking to secure a load in conjunction with securing planning to ensure a site can be delivered. They therefore do not necessarily have an 'immediate' need for the connection, but should planning be successful, they would reuqire the load. If this load was then allocated to someone else and planning was granted, it could severely effect the viability and hence deliverability of much needed housing and employment sites. | To prevent speculative developments from preventing or delaying firm development opportunities from being delivered, it is agreed that customers should only secure a place in the interactive connections queue when the defined requirements have been met and an immediate need for connection identified. To assist in determining this, consultation with the Local Planning Authority and the developers may be the answer. | Yes, subject to the customer having clear guidance about the information and level of detail that is being asked of them by the utility provider and the timescales required. WPD should be aware of the wider planned growth for an area as being monitored through the Local Plan process. | Whilst again this seems sensible in theory, this pre-supposes that developers 'trust' the system to be truly responsive to their needs, particularly where timescales for build out rates are longer in nature. With investment being based on risk, the mitigation factors for breaking up requirements, on a project may become a complete barrier to investment being brought forward at all, if build out requirements are not able to be fulfilled with capacity requirements. If this process were to work, there would need to be considerable front end activity required in order to consider: • Appropriate utilities provision delivered at the right time and place is essential for new development. • Avoidance of a break-down of effective forward planning for utilities, which lead to development sites stalling or not being delivered at all. • That it also creates the risk that existing networks could fail. This is because existing users require security of supply which means that the capacity of the existing utilities network must be increased and infrastructure upgraded as the population increases. Planning for future and existing needs therefore requires effective forward planning. Each of the three main parties in the current planning system has their own ways of planning for utilities to enable development. Their primary roles can be stated simplistically as follows: • Planners – plan where development should go to best meet the public interest • Developers – build new developments • Utilities – ensure new developments have access to water and energy For the system to work effectively it is necessary for the planning system of each role has to dovetail together. All of this would make the principle proposed more workable, instead of being a perceived burden on investors/developers to both understand and implement on their own, as this system seem to move toward..
Principle 3 - Capacity should be allocated according to the immediate requirements of end users and not on a speculative basis or for future undefined developments | 4) Do you agree that existing network capacity should not be allocated and reserved beyond the timescales of the construction programme for the connection works on infrastructure-only or speculative developments? | Note: A link to the Connection Charging Methodology Statement should have been provided at this point in the consultation document. The definition of speculative development in planning terms is different to that which is set out in the methodology. Yes. The process should take account of the plan-led system. If a site/development is within a development boundary or allocated for that specific use, it is more likely to come forward and should be treated advantageously to speculative developments. WPD should also factor in development plans to their infrastructure investment plans and | We are not sure to what extent the wording of this question relates to the body of the consultation paper. The question seemingly suggests that WPD are proposing, on speculative developments and infrastructure only connections, to limit the capacity available to customers to the time taken to complete the connection works. We have written our answer based on the proposal that capacity can be reserved for either; • A three-year period for existing network capacity; • A ten-year period for constructed capacity; or • At WPD’s sole discretion for a speculative development. We believe it is reasonable that developers and distributors should be able to secure certainty: • on what the costs of connection are; and, • that connections with the required capacity will be available when required. This is true for both larger and smaller connections. Many larger developments will have built out over a period much longer than the 3-year limit post acceptance as advocated by WPD. We believe such a unilateral imposition is wholly unreasonable and unduly discriminatory. Build out data from our projects our initial analysis suggests that in practice average build out profiles period for different developments as follows: Development size Build out time Up to 100 plots Up to 4 years 100 – 250 plots 4- 6 years 250 – 500 plots 6- 8 years 500 – 750 plots 8 – 10 years We do not have sufficient data to provide meaningful averages for larger developments – some of which are still under construction; however, it is reasonable to assume that these are in excess of 10 years. For larger developments there will usually be longer period from between acceptance and initiation of works on site. To support their proposals, we ask WPD to provide their evidence on why they believe three years is a reasonable period to limit capacity. Taking a domestic development of 125 houses; it will take, on average, four years to fully build out, yet it is entirely feasible that this level of development can be accommodated on existing network capacity. In our opinion it is not in the interest of connection customers (or wider use of system customers) for customers’ capacity to be limited to three years in these instances. Your consultation indicates that any longer period could “disadvantage other connection customers with firm requirements for developments which could utilise this capacity within a similar timescale. This assumes that where capacity is reserved beyond three years there are no “firm requirements”. However, we would dispute this assumption based on the build out profile table we have shown above. These sites would have immediate, progressive requirements for capacity. Similarly, we do not believe that the application of a ten-year period where customers have contributed to shared assets is beneficial. We would welcome some more detailed analysis or reasoning from WPD as to why they believe this is reasonable. You have stated that where customers contribute to reinforcement then, during your proposed ten-year period, they may be eligible for a refund of any contribution made by them to the reinforcement works if capacity is subsequently utilised by another customer. The CCCM states (DCUSA Schedule 22, para 1.36) that in order to be eligible for a rebate of the charges the customer must have fully funded the reinforcement. Your consultation appears to imply (through the use of the word “contribute”) that parties who partially fund reinforcement may be eligible for rebates where a customer uses capacity which has fallen away from them. We would welcome some clarity as to how this approach would fit in with the current legal drafting in the CCCM We are not convinced that there are sufficient grounds to discriminate between the time for which customers will have capacity available dependent on the connection works required to accommodate that connection. It does not seem reasonable to segment connection requests, and therefore availability of capacity on this basis. It is possible that a small domestic development could trigger network reinforcement and, on the basis WPD are proposing, the development would have their required capacity available for 10 years prior to it being required. However, a much larger development which can be accommodated on the existing network would only have their capacity available for three years. We agree that there should not be an open ended enduring right to capacity. We think there should be an appropriate mechanism whereby a distributor can “clawback” committed capacity that is unutilised and where it is unlikely to be utilised. However, such mechanism needs to be fair and proportionate. Changes were implemented to the National Terms of Connection to put in place a clawback mechanism for capacity. To put in place a more “draconian” mechanism in place for new connections, where WPD can unilaterally remove access rights for new connections is unduly discriminatory against such customers when compared to the arrangement for existing connected customers. As well as accepting a connection offer, IDNOs will enter into a bilateral connection agreement which among other things will set out the connection capacity. It is important that the arrangements in connection offers are consistent with those in the connection agreements. | As with planning consent, there should be a requirement to start the installation within 3 years or lose the consent. Some of the larger projects – new towns etc – will need a longer timeframe. | Response from Strategic Planning Department: 3 year period does not cover full length of a planning permission when reserved matters are required after an outline consent. | Yes – providing that a realistic timescale is allowed for speculate developments that cannot, by their nature, define an absolute cut-off point for completion | Agree | Yes provided the process is fair, not abused and has sufficient flex within the approach (see above comments) so that is does not impact up project and lead to claims against the customer from suppliers from delays. | Yes. | We do not believe that this will allow for effective development of locally important assets. As an example of why this may not work, we are currently embarking on our Phase II development. This is a 6-acre development that will take 8-10 years to build 12,000m2 across 8 buildings. Each building will be an individual, bespoke construction project. However, we are looking to develop a single energy centre so that we can reap the benefit of local network management (increase net usable area of each building , share renewables, lower overall capital costs). There are obvious long term benefits to WPD in this approach – lower overall KWh use, lower defined KVA capacity requirement etc. Therefore, in the first instance, we will be looking to build a single building with infrastructure capacity for a further 7. Having to do a new substation for each building rather than taking a site approach will be significantly less efficient and much more expensive for us as a developer. It seems that the principle runs contrary to the Local Authority approach of bringing forward strategically important sites, which by their nature are infrastructure rich but lack long term definition. | Yes agree, however where very large scale developments are likely to be on site for more than 10 years, there needs to be a review period to allow the developers to provide evidence to extend the timescales. This could relate to actual delivery, demonstrable delivery progress, mobilisation of works and Reserved Matters application approval - this is to allow those larger sites certainty. With speculative developments (not allocated/no outline planning permission) there are a range of risks with investment. Being able to remove risks could make the difference between delivery or not. If some allowance could be given in the case of speculative developments, then this could provide positive outcomes. | Could this not result in developments ‘stalling’, potentially dis-incentivising end users of a development to which there is clearly commitment by virtue of these types of works? | The principle appears to be sensible and logical. However, it would seem appropriate for WPD to monitor the potential for large scale and strategic developments that will require investment in infrastructure. --- is keen to work effectively with WPD to ensure that this is the case when processing planning applications and progressing spatial plans. | • This cannot be a simple yes/no answer. We need to embrace the whole socio-economic reasons for development and adapt our historical processes to suit. • Developers need to know that their capacity will be available in accordance with their build programme, so provided DNO’s will move to a phased or ramped agreement for capacity this should be workable for both parties. • If DNO’s will not adapt their stance then developers will continue to grab capacity in order to de-risk their development. | Yes - agreed | Yes, as this should incentivise uptake of the allocated capacity and discourage long-term speculative developments that may block shorter term developments with validated requirements. | There must be allowance for the connection timescales to align with related and justified development programmes – for example an auxiliary import connection at a proposed wind farm should be allowed to align with the main wind farm connection and hence the main wind farm planning timeframe. Otherwise, it is reasonable to require the applicant to demonstrate progress against defined milestones, including submitting and updating of the defined and verified requirements mentioned previously. | The matter should be taken further and speculative development should not be able to reserve capacity at all. All development should be able to demonstrate that it is actually going to come forward and is not just an exercise in the valuation of land. | No. An example of an infrastructure only project could be a new infrastructure road to service a mixed use scheme with serviced land parcels. If the subsequent serviced land parcels then lost the capacity avialable, how would they be developed out? On strategic large scale sites, it can take years to develop out, so this strategy would put developers at risk and potential financial harm. | Where a customer can demonstrate that he has a sustainable build out programme, then the network capacity should be allocated and reserved for that period, no matter what length it may be. In this case WPD should be given the opportunity to examine any business plan or other documents required to support and understand the customers commercial requirements. If a customer cannot demonstrate a sustainable build out programme then any offer should be limited to a short duration, perhaps as short as 3years. | Yes-this appears a reasonable approach subject to the processes and systems being able to secure confidence for developers that medium to long terms needs will be guaranteed and investment risks minimised to ensure development is feasible. | This principle is less contentious, if the above stages are seriously considered as part your initial approach. It would be sensible that if trust is built up with investors and developers that the capacity is available at all times, or that a timely programme of reinforcement is planned when their next build out tranche is ready, this should be more palatable to any wary investor/developer. Where any breakdown in the process will be shown in sharp relief, is where this does not happen, and people are left with the problem of no flexibility in delivery of capacity for their investment/development needs.
| 5) Over what time scales do you think it is reasonable to secure capacity ahead of its actual usage? | This should be linked to the scale and any phasing of the proposed development. Generally, one year prior to actual usage should be sufficient. We need to encourage development to come forward relatively quickly and not to stall without repercussions for the security of capacity. There are currently too many speculative reservations of capacity blocking up the network and preventing genuine demand coming forward. A time limit needs to be imposed after which the reservation expires. Modest deposit paid for short term reservation of capacity and lost perhaps if not achieved? | We do not believe that a single rigid time scale for all developments is appropriate. Larger developments by their very nature will take longer to build out than smaller developments. Also, as set out in our response to earlier questions, the phasing of developments may not be fully known at the time of the request ones. Therefore, we think that an appropriate transparent process (contained within the CCCM) be developed setting out a process: • for reviewing the required capacity for the development on a periodic basis; and that, • for capacity clawback where the DNO is of the view that unutilised capacity will not be utilised in a reasonable time frame (consistent with the size of development), a process, such process to give the customer reasonable rights to appeal. | The planning process for larger projects can take several years – getting the lead time right is nearly impossible. | Response from Planning Department: From a planning perspective in respect of proposals for large urban extensions (i.e. providing in excess of 1,500 dwellings), newly-built sole use infrastructure assets should enjoy protection of capacity up to a maximum of 15 years. Response from Strategic Planning Department: Further to the response to Q4, the period could be extended to 5 years to allow for full implementation period of a reserved matters application. In terms of Principle 3 – Many development enquiries that power company may classify as ‘speculative’ are not in fact speculative in planning terms. These may be sites with outline planning permission, or more likely allocations in the statutory development plan (i.e. a Local Plan). Therefore, principle 3 could result in a risk that long term phased developments could become ‘stuck’ throughout the build out period if power is only allocated at the point when full details are known. This could adversely affect the continued long term delivery of strategic scale developments in ---. Large scale developments will themselves be phased and it is important to Local Authorities’ that the projected rate of housing delivery is not unduly compromised as a result. Response from Planning Policy Department: 3 years | 3-4 years maximum | Up to 10 years | I think this would need to be banded based on amount of supply required to be reserved, the issue for the local area, the type of development being undertaken and any impact/link to the overall build programme duration. However I think reserving power for up to 3 to 5 years in advance on large schemes would be appropriate as the customer and the construction contractors would need this level of certainty to set a realistic and appropriate programme. If longer was need this should be done via longer term agreement in principle with key milestones and gateway approaches that requires phased completion of key sections, commitment on both side to progress and a clear agreement on future sectional completion and associated costs based on demand. | 5 years, but given the Electricity (Connection Charges) Regulations 2017 probably think it needs to be 10 years. | I would have thought 3-5 years is adequate to commence work on a development, with an option to renew if there is a clear strategic priority or clear contractual/funding guarantees in place for a subsequent period (another 3 years?). | For the existing network capacity an initial 3 years appears appropriate, if followed up with evidence that this needs extending this could then be on a yearly basis up to a maximum of 6 years. For constructed capacity, the 10 years appears to be appropriate, however if it needs review, as suggested in answer to Q4, then a shorter period based on evidence would allow future certainty for those larger developments, of around 3 years. A threshold could be applied to this. | This depends upon the size of development: the larger the development the more complex the phasing and lead – in times so an holistic view will need to be taken in securing the capacity to align with the development period. Smaller developments generally have shorter lead in times so will require shorter timescales. However provision should be made for considering exceptional circumstances on a case by case basis for example where lead in times may need to be longer of some smaller sites due to the complexities of land remediation issues / land assembly / funding issues to address viability etc. Without this, the unintended consequences could be that brownfield sites are stalled and ‘easier’ greenfield sites end up being the quick wins which sits counter to government policy to encourage brownfield site redevelopment. | The Council does not have an opinion on the timescale for operational matters, it would seem that customers or potential customers of WPD would be more informed on those matters. However, for larger scale strategic development in the Borough WPD’s timeframes should match the Core Strategy. | • This will be dependent on the size and type of development. • It is not uncommon for large/masterplan developments to have 10-20 year build-outs so DNO processes need to reflect that. • Unless there is a significant (political) change in housing policy together with a radical change in construction methods there is no reason why this will change. • Developers need to know at an early stage where and how their capacity will be sourced in order to allow for immediate and future infrastructure requirements, particularly where primary substations and EHV cable routes are involved. • This long-term planning will frequently traverse DNO Price Review periods, which is often a stumbling block | This would be depend on individual applications and be dependant on project build out times and milestone commitments to proceed. However, should be fully charged inclusive of reinforcement costs and capacity charges as if the capacity was in use – this may deter abuse of fabricated lead times and project requirements by putting risk back on the developer rather than the network and its current/future customers. | This needs to be flexible depending on the nature and scale of the development, the robustness of requirements and degree of certainty over project completion timescales. Is the system sufficiently flexible to accommodate legitimate or justified changes in requirements? Is there a case for an approach that enables smaller more immediate projects to go ahead to minimise “blockages” and “stranded assets” in the event that speculative capacity requirements do not materialise in the agreed timeframes? | Answered above (Q4). | 3 years post acceptance of an offer is considered a reasonable period of time. Planning applications expire after 3 years – infrastructure providers may find it useful to liaise more effectively with planning authorities in order to ascertain how certain deliver is with regard to larger developments. | Dependent on the scale of the project. It should be appropriate to the size of the proposal. For example, a 50 house site could have a year, whereas a 1500 house site could have 10 years. It needs to be realistic and proportional to the proposal being put forward. We would suggest a scale/range is applied to offer flexibility dependent on the type and size of scheme. | To some extent this is dependant not only on the Customers requirements but also WPD’s ability to deliver the Non-Contestable works. We have had a recent Point of Connection offer whereby it was identified that it would be a minimum of 36months for WPD to plan and instigate the required reinforcement works to deliver the loadings required for development. Without surety of supply it is unlikely the Customer would start construction on site, therefore under this scenario it could be 5years before the actual usage is required. | This is very much dependent on a site-by-site basis and the infrastructure needs for example with large schemes such as Sustainable Urban Extensions ... having build-out timescales going up to 2036. Clearly close discussion between LPA’s and site promoters/developers with Utility providers such as WPD is very important in providing as much certainty as possible. Phasing plans and developer finance plans will play a large role in determining timescales. | This is where there would need to be further discussion with both Local Authorities and investors/developers, as some proposals now being brought forward, can have 'build out' rates up to 2036. This does mean that forward planning component will be important to the process of managing your infrastructure asset, to give both the trust and surety to the economic market...
| 6) Do you agree that it is a reasonable cost signal to require speculative developments to pay 100% of the reinforcement costs and an uplift for operations, repairs and maintenance? | Where there is an adopted development plan, yes. Where there is no adopted development plan it is more difficult to define speculative development. The costs of connection can be prohibitive and discourage valuable developments. Whilst the developer might be expected to pay for some grid enhancement work - surely this should be shared more equitably with all users - particularly for renewable energy production connection - which is of national benefit in Carbon reduction terms --- are blessed with good resources for making renewable energy which we should be exporting to the rest of the country. Unfortunately the grid is designed for primary energy production in North and South Wales (nuclear and fossil fuel) to be exported to Mid. In other words the grid is upside down and needs substantial alteration to accommodate renewables on a larger scale.. | We agree that, in some instances, it is reasonable and proportionate for speculative developments to be required to pay 100% of the reinforcement costs. We, however, believe a much clearer definition of “speculative” is required. We have experience of different arbitrary interpretations and applications of the term being used. We do not think that housing developments in the vast majority of cases are speculative. The load is predictable. The only variation being the timing of the build out of the development, which is largely true for all such developments We believe the term speculative is relevant to non- domestic developments where the requirements of end customers are unknown. Whilst we agree to the principle we have some concerns: • If a connection capacity is considered speculative, then how is the speculative element of the charge going to be treated. It could be considered as security, such that if the load materialises within a reasonable time frame (as a benchmark, the ECCRS use 10 years) then the speculative element is refunded - with interest-(consistent with section 20 of the Act). To not offer a refund would amount to double charging in respect of that customer (since DUoS, recovers elements of these charges) recovers. • If a second comer connects to the network and utilises the capacity, consideration needs to be given how the Connection Charge Regulations will apply; i.e. to what extent will the first comer or second comer be liable for the speculative element of charges. As with the point above, If the speculative element is not refunded then there is the consideration that the DNO is double charging. We also have reservations regarding the calculation and application of capitalised operation and maintenance as a reasonable cost signal. We understand that, where genuine costs, are incurred in the operation and maintenance of assets which are provided and will not be funded through DUoS then capitalised O&M is reasonable. However, we question what the incremental O&M costs are for reinforcement works compared to the existing distribution system. In defining developments as speculative and requiring customers to pay these costs we believe that the distributor should demonstrate the incremental operation and maintenance costs. | WPD is a regulated monopoly and should be made to share the cost of grid reinforcement. I am told that in France the DNOs have a statutory requirement to bear most of the cost. There is a danger that if the developer is required to bear all the costs, most of which are uncontestable, he will set up his own ESCO thereby decongesting the grid and decreasing WPD’s revenue and its suppliers’ customer base. We are in an era where renewables with storage offer opportunities for self sufficiency using microgrids. | Response from Strategic Planning Department: Definition of speculative development does not actively facilitate the delivery of long term sustainable growth. WPD should have regard to the proposed allocations in the --- Local Plan, and other strategic plans in their consideration of | No. The imposition of this proposition would place a severe burden on smaller developments and may well damage viability of otherwise economically advantageous development schemes. The historic lack of industry investment in delivery of power infrastructure to local areas should not act as a penalty on entrepreneurial endeavours to unlock development potential. | Do not agree that Customer should pay all costs. It is clear that the costs will result in increased user revenue for the provider. Their pricing includes contingency monies for upgrades and improvements and therefore some of the capital cost should be borne by the asset owner. | I think the question is too simplistic when considering the complexity of the issues faced. However in response to the question posed, No I feel this is to open and offers the end user no protection in such matters whilst allowing the supplier compete cost indemnity for issue that may well be beyond the customer responsibility. However I do feel that the principles covered are fair and if applied as described this would be a reasonable approach to take provided that the T&C that sit behind these addressed the above concerns in order to make the process transparent and fair on both sides. Furthermore I also feel that this policy would need a clearly defined appeals process within it and a mechanism for external appeal should neither side be able to come to an agreement in these matters. | Yes, but we’re not sure about the uplift for O&M and repairs. | It depends on the specific context. Regeneration projects such as ours are often building on sites where previous users have already invested in the local energy capacity and this is reflected in the land price etc. Asking developers to pay 100% again to reinforce this capacity seems to be a duplication of costs. In Lincolnshire in particular, commercial property prices and rents are approximately 50% of those in Cambridgeshire, Nottinghamshire etc. Placing additional infrastructure costs on developers will make it increasingly difficult to make projects viable, make Lincolnshire less competitive than neighbours and will act as a drag on the local economy. Whilst this is not WPD’s problem, as such, it is a very clear strategic problem for the county and one that needs addressing. |  | The term ‘speculative development’ needs to be very clearly defined to avoid confusion. The consultation states that ‘if the capacity cannot be substantiated with any level of certainty it may be deemed to be speculative’ and this is supported in principle. Potentially this could help to prevent land banking and the knock-on consequences of others requiring network capacity. In economic development terms however, ‘speculative development’ can mean something quite different: it may be a crucial lever to investment and attracting end users and will clearly need that capacity to have been addressed. So the terminology used needs to be very clearly defined to avoid confusion. | It may be more appropriate to base this judgement/decision on the merit of the case before the power provided. It appears that there could be a scenario where significant power increase (and physical infrastructure investment) is required due to the quantum of developments coming forward from a number of sites in varying ownerships, but in the same spatial area. Therefore, it may be more appropriate for the cost of power and physical infrastructure to be shared by a number of developers. Moreover, this approach might accelerate the delivery of development as there would be certainty on cost and the proportion of that cost each developer will need to pay. The use of ‘speculative’ here and the definition of the term in this context is problematic, for instance: is the development[s] ‘speculative’ if it is allocated in the Core Strategy?; is the development ‘speculative’ if it is part of a pre-application discussion or part of a PPA agreement; is it ‘speculative’ if there is a resolution to grant planning permission?, etc. | • I agree in principle, provided the reinforcement can be identified as being for the sole benefit of the development. • The mechanism for calculating any uplift needs to be transparent and not used as an additional punitive cost. | Yes | Agreed. | We are not convinced that it is efficient network development or use for truly speculative developments to be able to reserve any capacity. Not until or unless a two-stage application process is developed. However, we have some reservations about how WPD will interpret the term "speculative" (see answer above). Once capacity is reserved: to the extent that any connectee, including speculative connectees, do not progress works by the relevant milestones or pay charges in accordance with their programme then they risk further delay and cost in accordance with the terms of the offer they accepted. We accept that WPD should not be offering a 'low barrier to entry' for truly speculative developments. | The Council strongly agrees with this, speculative development if it wishes to reserve capacity should pay 100% of the reinforcement costs and an uplift for operations, repairs and maintenance. Speculative development does not actually benefit anyone except those that either own the land or manage the land, what is needed is positive growth where there is certainty of it being delivered, in that way both local authorities and infrastructure providers can ensure appropriate provision is provided in a timely manner. | No. If a site for example is in a local plan and / or an allocated site, yet is still awaiting planning permission, would this be speculative if a developer makes enquiries during the planning process? | If WPD consider that they cannot dismiss any customer’s application if the capacity requested cannot be substantiated with any level of certainty, then any additional costs which may deter speculative development enquiries should be encouraged. Anything which prevents speculative developments from delaying firm development offers from progressing in a commercially appropriate way is supported. | This appears a reasonable subject to a consistent approach from all energy providers across the country to avoid blighting in a single energy providers area where this approach is taken. | If the development has no information available, and is for sole use purposes of the development, then it is not unreasonable for the DNO to levy these costs, to ultimately avoid the bill payer having to pick up the tab. However this will need to be properly consulted on, and also signposted through a range of partners. It is also something that would need some common agreement amongst all energy providers in the UK, to avoid the 'cherry picking' of areas with less stringent requirements benefiting from the proposal – at an economic expense of the WPD serviced area. My question to you would be what is the approach to this issue, from other DNO providers?? How are they tackling this issue (or not).
| 7) Do you think this represents a workable solution to reserving capacity and if not, are there any alternative approaches that you believe WPD should consider, to supplement or replace the approach we are proposing here? | Do not support capacity reservation charges. | Paying a reservation fee for capacity is potentially unduly discriminatory. Existing connections that are de-energised pay no DUoS charges or other charges. Yet they maintain the right to capacity (subjects to the NTCs or any other substitute connection agreement). On that basis we ask why a developer should have to pay a reservation fee. There appears to be little or no justification to treat these two types of customer differently in respect of reservation or capacity charges. | There needs to be a system whereby large business units can help decongest the grid enabling the capacity they give to be used by new smaller developers without need for grid reinforcement. This might be cement works that installs a wind-farm, solar farm and storage – perhaps pumped storage using disused quarries. | No Comment | The system to be introduced must have provision for a regular review of applicant milestones to enable WPD to re-allocate positions within the application queue according to continually monitored data. | Agree, though I do believe that Western Power should engage with the local plan forming bodies in order to promote development. | Yes but the detail will need to be carefully considered to ensure it achieves the objectives you have set out and support customer to achieve their objectives. | Yes. | In general it makes sense except that WPD should be alive to overriding strategic necessity as defined by the Local Authority and the LEP. WPD should maintain a close relationship with these bodies in order to prioritise schemes that do not meet the WPD principles but have significant local support/resources. Having too rigid approach runs contrary to the opportunistic nature of economic development, which is often driven by government funding cycles. | Paying a reservation charge for capacity would seem a reasonable approach for WP to take. Refunding that charge upon occupation within agreed timescales would again seem reasonable. | Local Plan Allocations (in an up to date adopted Local plan) should also be factored in as a signal of commitment and certainty. | Where strategic growth is coming forward in a specific spatial area... a more pragmatic approach may be appropriate. This could pool the costs over a number of developments, rather than bring a charge against one developer that triggers the need for reinforcement... This opportunity is something that --- would be interested in working with WPD to consider further. | • No. • We need to develop a framework whereby developers can reserve capacity on an agreed ramped basis, with advance payments coinciding with agreed milestones including the provision of reinforcement and/or infrastructure. • The process needs to ensure that any anticipated slippage or creep in the development programme is clearly communicated and appropriate commercial terms agreed. | A disproportionate reservation charge is not a workable solution to prevent speculative reservation of capacity. | This does look like a workable solution to achieve a balance between the desire to offer assurances on available capacity for development purposes whilst deterring unfair blocking and the passing on of costs to others. In the event that there is non-utilised capacity available after a speculative development has been completed (i.e. the original application over-estimated requirements) is there a mechanism to release this capacity to others? | Our position is set out in our answer to question six. | Please answers to questions above. | As above, a strategy needs to be in place that is based on the size of the development and reflects how long it is likely to take to build-out. A 2 year reserved capacity is not realistic on a large strategic site. | Once a Developer / Landowner has secured a planning consent to develop, whether it be full or in outline, his immediate response is to plan to be on site as early as possible for commercial reasons. Anything which does not help to resolve the “bottlenecks” in network capacity availability is a hindrance to development. For this reason, we do not think that this represents a workable solution. | It could be but an approach needs to be adopted that improves the trust and perception of investors and developers in the long term planning of the electricity supply. A WPD ‘Forward Planning Team’ working with local planning authorities to support growth and improve confidence in the system could be a positive way forward. This would also facilitate improved dialogue on the issues and complexities involved. | It may be that an alternative solution to consider, particularly where employment land is concerned, could be more of an internal WPD team that could deal with the speculative side of the energy requirements for investors and developers - which would work more closely with planning authorities and local plan teams. This approach could change the trust and perception of investors/developers in the system, by providing a more comprehensive support and estimates at an initial stage. This could then be backed up with the planning system underpinning the importance of gaining the right development details, through the planning process. This may also have the added benefit of flagging up to all concerned the components of electricity availability, so that a better forward view of infrastructure demand can be gained. This will help with both utility management plan timelines are concerned, and also local plan timescales requirements.
Principle 4 - Capacity should be allocated with defined milestones for the obtaining of planning permissions, commencement of construction and completion of connection works | 8) Do you agree that it is a reasonable cost signal to require demand customers to comply with a set of project progression milestones in order to retain their connection offer and its allocated capacity? | Yes. This approach promotes delivery and will help to avoid unnecessary delays for those waiting to take advantage of capacity as it becomes available. In relation to criterion i) of the milestones, the requirement shouldn’t to have simply submitted an application, the milestone should be to have been granted the consent/permission and this should be evidenced as per criterion iii). | Please see our response to Question 5. We agree that there should be a process in place that allows an electricity distributor to claw-back capacity that is unutilised, and where there is no reasonable prospect that such capacity will be utilised. Additionally, we think that a customer should not be able to retain capacity rights as a “ransom” against other customers; i.e. to abuse capacity rights by using it as a gaming chip. However, we recognise that under the Charging Futures Forum’s task forces, capacity auctions and access rights are being considered. Notwithstanding the above we think it is reasonable that where an electricity distributor wishes to claw-back capacity - and the customer disagrees with the proposal, they should have a right of appeal to demonstrate that they have a reasonable requirement for capacity. Whilst we are not against progression milestones, we think that in many cases, these are unlikely to be in place when connection requests are made. Additionally, we think many of the milestones suggested are inconsistent with the provisions of the Act and the electricity distribution licence. Appropriate milestones need to be flexible and be based on proposed capacity take up. We think there should be a process in place to review milestones periodically | Yes. Each project will have different time scan. | Yes | Yes – but based on a sensible pre-determined and understood set of rules | Agree, but I do see the need for flexibility in dealing with the issue. | Agree – please above. | Yes | It depends on (a) how defined those milestones are (projects regularly suffer non-critical delays e.g. archaeology) and (b) ensuring that there is a mechanism to reasonably re-negotiate them. It is entirely possible that a rigid approach to this will lead to distortions in the market, where developers are forced to start projects prematurely to retain capacity and/or lose capacity mid-way through a project. Where you are investing £10m+ in a project, suddenly finding capacity withdrawn midway through a project would be a huge risk. | Yes agree that that customers need to submit information to demonstrate progress. Setting agreed milestones for all parties would seem sensible going forward. | Yes, subject to negotiation as it will be important to understand the reasons for slipped milestones. There needs to be room for leverage. | It would seem to be reasonable to expect customers to maintain a project plan and update on progression, so that the delivery of power infrastructure reacts to the market and can be pragmatic. Where this appears less reasonable is in larger, more strategic development and where a specific quantum of power is required to bring forward regeneration and inward investment. Again, this is the case with attracting end users to the --- Science and Enterprise Park. The ability for partners to demonstrate that the necessary infrastructure can be available to meet their demands is an important component in attracting the investment. It may also be the case that some flexibility within the system to deliver investment may be necessary for delivering more complex development programmes. | • Yes, provided that where appropriate this ‘allocated capacity’ is to be available on an agreed ramped basis. | Agree | Agreed, noting the caveat that milestones may be extended subject to agreement with WPD to allow some flexibility. What mechanism is proposed to make use of any surplus (planned) capacity that becomes available? | Yes. | The Council agrees that customers should have to comply with a reasonable set of milestones. | Whilst the principle seems sensible, anyone with experience of the planning process will appreciate how time consuming and unpredictable the process can be, so this would need careful consideration and / or some flexibility. | A fair and effective management of connection queues is something which in our opinion is necessary and if the introduction of milestones applied to demand is an approach which delivers such, then it must be supported. This process must however recognise that with large allocated development sites any build out period will be lengthy, for which at the time of entering into any agreement, neither the Developer nor WPD will be aware of political or commercial variations that may occur over say 20-30 years. It is therefore welcomed that the opportunity to agree timescales relevant to the nature of the development, will be established for each milestone and that these may be extended by agreement where the customer can provide evidence to WPD’s satisfaction that the scheme is still progressing. | Yes this seems a pragmatic and reasonable approach but with a certain amount of flexibility required to accommodate unforeseen circumstances arising during development. | This does seem a sensible process to adopt at the stage in which a direct consent is gained, and compliance with the requirements set out under a legal agreement is also adhered to. Where the difficulty may come will be around how any flexibility of trade off in power allocations can be made, if external constraints and unforeseen circumstance force a development to stall. How can any mechanisms, that sit underneath the milestones to be achieved, whilst also maintaining all economic activity in a forward progression. This will in practice need to rely on a series of transparent 'trade-offs', which support the wider economic needs of any given local area. The better the framework is developed and delivered to articulate the 'Trade-offs' for any agreed action plan around infrastructure, the better the marked effect on local economic activity will be.
| 9) Do you agree with the milestones set out above or should we consider any alternative milestones? | Milestones should be aligned to timescales defined through the planning process. On sites allocated for a specific use within an adopted development plan, limited additional weight should be afforded to an outline planning permission. Allocation in itself provides sufficient reassurances that the principle of the proposed use for development is acceptable. On allocated sites, planning authorities wish to encourage full applications where details of development are defined. | No. see response to Question 8 above | blank | Response from Planning Department: The milestones are appropriate provided there is some flexibility in establishing timescales for each one, as suggested under Principle 4. Response from Strategic Planning Department: WPD Should allow for flexibility on point (i) regarding the requirement to have submitted a planning application. The NPPF requires LPAs to have regard to viability, and as such, as part of viability discussion during the determination of a permission, utilities costs should be taken into account as this will ultimately impact on the wider balance of developer obligations that the LPA will have to consider. This would include on matters such as affordable housing and other developer contributions towards necessary infrastructure (schools, highways etc). This will become meaningless if LPAs are not able to understand utilities costs until an application has not only been submitted but would then be under determination. In terms of point (ii), this should have regard to the fact many applications, particularly for large scale schemes will come from land promoters who have promotion agreements rather than landowners or developers themselves. This fact should be recognised in the criteria as the proposed approach could add additional delay to commencing strategic scale urban extension proposals. | Different applicants/developers have differing goals and end users/outcomes. One of the differences is whether they are the end user or the enabler. This difference also determines whether the principle developer/applicant is the organisation that applies for outline or detailed planning consent. | Agree with milestones set out | See above. | Yes | Planning permission makes sense. In terms of the rest, it probably needs to be more bespoke (commencement of enabling works, phased commencements within a larger build programme). Completion, as noted above, could be really problematic and act as a barrier to investment if there is any risk of WPD withdrawing capacity due to delays during construction. As most delays occur in the ground, they are almost always prior to connection. | For large sites where there will be phasing it would be appropriate to include that part of the site has started; this would need to link into principle 3 as suggested above. | Agree subject to (8) above. | It appears that there has been a step missed in this process relating to wider spatial planning. To wait until a planning permission has been granted may be too late for larger and more strategic development. It is accepted, however, that more strategic and pro-active planning of infrastructure is problematic due to a lack of a national and/or regional spatial strategy. However, a spatial strategy for the Borough is set out in the Core Strategy. With regard to: (i) with large/strategic developments it may be useful to consider and be aware of pre-application discussions and Planning Performance Agreements; (ii) again with large/strategic developments it may be useful to consider an ‘option’ agreement; (iii) WPD may wish to be aware of developments with a resolution to grant planning permission, outline permissions (reserved matters), etc. | • These milestones are acceptable for standard developments. • We need to consider large commercial developments where Development Consent Orders apply as opposed to Planning Permission. • For larger developments additional milestones need to reflect the agreed build programme. | Agree | Agree with milestones. To what extent are risks and associated mitigation plans taken into consideration when determining the robustness of the milestones? | Please consider also allowing for an obligation for applicant to progress with any parallel process for transmission access clarity (in a similar manner to how generation is required to progress and make payments in accordance with the statement of works process, or its equivalent, such as may be required). In parallel with generation, we would also suggest including, where applicable, relevant user milestone(s) on the progression of contestable works design where an ICP solution has been selected. | With regard to milestone (i) it may be more appropriate that any developer when they are demonstrating that planning permission has been submitted (this should be full or reserved matters, not outline) can show that they have had pre application discussion with a local planning authority and that there is in principle support for their development – otherwise capacity could be reserved for a development that is not going to get planning permission. | Planning permissions needs flexibility. | For large land allocations, an additional milestone may include for a phasing plan to be submitted, with identifiable delivery dates / triggers. It would not be unreasonable for these to correlate to any similar requirements that may be contained with planning consent documentation. i.e. Planning Conditions or S106 Agreements. | Yes, the milestones set out in the consultation document appear reasonable but some flexibility is required as unforeseen circumstances do occur when bringing forward sites for development that can be out of site promoters genuine control | It would be beneficial that milestones set out fit within the local economic climate, as set out above. This can be easily accommodated through the existing and future work that the ... LEP have carried out ...on the infrastructure capacity requirement for jobs and growth.